## HET Toilet Retrofit Payback
Hotel HET Toilet Retrofit Payback Calculator |  |  |  |  | Required Inputs
Key Outputs
Assumptions |  |  |  | Water Charges
|  | Notes |  |  | Charges | Notes
Flushes per day per resident/guest | 3 | Typically 3-5 Flushes per day |  | Domestic water rate per HCF (1HCF=748 gallons) | 7
Occupancy % | 100% |  |  | Wastewater treatment rate per HCF |  | *Commercial accounts only. Wastewater quantity based treatment rates typically don't apply to Multi-family accounts.
Average # of people per room | 1 |  |  | Sewer system rate per HCF | 0 | *Commercial accounts only. Wastewater quantity based treatment rates typically don't apply to Multi-family accounts.
Existing Toilets Gallons Per Flush (GPF) | 3.5 | Toilets older than 1994 are 3.5 gpf or more |  | Total Water Charges | 7
New High Efficiency Toilet GPF | 1.28
Site Information
Notes
Total # of rooms to upgrade | 100
Cost for new HET toilet + installation | 400
Savings |  |  |  | Payback
| 1 year | 2 Year | 5 year | Years until Payback | 17.5831
Water Savings per Room (Gallons) - HET Upgrade | 2430.9 | 4861.8 | 12154.5
Cost Savings Per Room - HET Upgrade | 22.7491 | 45.4981 | 113.7453
Total Water Savings (Gallons) | 243090 | 486180 | 1215450
Total Yearly Cost Savings (All rooms retrofited) | 2274.9064 | 4549.8128 | 11374.5321

## Sheet1
Flushes per day per resident/guest | Occupancy % | Average # of People per room | Existing Toilets Gallons Per Flush (GPF) | New High Efficiency Toilet GPF
1 | 10% | 1 | 1 | 1
2 | 20% | 1.25 | 1.28 | 1.28
3 | 30% | 1.5 | 3.5
4 | 40% | 1.75 | 5
5 | 50% | 2
6 | 60% | 2.5
7 | 70% | 3
8 | 80% | 3.5
9 | 90% | 4
10 | 100% | 4.5
5
5.5
6
6.5
7
7.5
8
8.5
9
9.5
10