## Sheet1
Marriott Spectrum Toilet Water Savings and ROI calculation
Guestrooms Toilets | 271 | (1.6 GPF)
Common Area Toilets | 13 | (1.6 GPF)
Guestroom Flushes per day |  | 15 | (based on Green Lodging News - EPA study)
Common area Flushes per day |  | 150 | (based on estimate of Marriott Spectrum)
Calculations (Volume): |  |  | Guestrooms
a. Water usage of 1.6 GPF per day: |  |  | 6504 | GPD
b. Water usage of 0.8 GPF per day: |  |  | 3252 | GPD
c. Difference |  |  | 3252 | GPD
d. Annual Saved Gallons |  |  | 1186980 | Gal
e. Annual Saved CCF |  |  | 1586.8717 | CCF
Common Areas
f. Water usage of 1.6 GPF per day: |  |  | 240 | GPD
e. Water usage of 0.8 GPF per day: |  |  | 120 | GPD
f. Difference |  |  | 120 | GPD
g. Annual Saved in Gallons |  |  | 43800 | Gal
h. Annual Saved in CCF |  |  | 58.5561 | CCF
Calculations (Cost and Savings):
a. Cost of Supplied Water Savings/YR: |  |  | 4360.3837
b. Cost of Sewer Water Savings/YR: |  |  | 5051.4634
c. Savings with 1.28 GPF Toilet/YR |  |  | 9411.8471
Project Cost and ROI
a. Cost of 271 HE Toilets ($637/unit) |  |  | 98915
b. Rebate per Toilet Unit ($300/unit) |  |  | 81300
c. Residual Cost on Toilet Upgrade |  |  | 17615
ROI (Residual Cost/Annual Savings) |  |  | 1.8716